## Colour 6500k
ISF / M-TLV Calibration Report Template
Customer: | [5 empty] | Display:
| 0.313 | 0.329 |  |  | 0.313 | 0.329
IRE | Pre - X | Pre - Y | Distance to D6500 | Bias-Tint | Post - X | Post - Y | Distance to D6500 | Bias-Tint | % Closer to D6500K | Pre |  | post
100 | 0.282 | 0.257 | 0.07839 | + B | 0.312 | 0.329 | 0.001 | + B | 98.72% | 0.5 | 0.039195 | 0.5 | 0.0005
90 | 0.286 | 0.261 | 0.073164 | + B | 0.312 | 0.331 | 0.0022361 | + G | 96.94% | 0.6 | 0.043899 | 0.6 | 0.0013416
80 | 0.291 | 0.268 | 0.064846 | + B | 0.312 | 0.33 | 0.0014142 | + G | 97.82% | 0.7 | 0.045392 | 0.7 | 0.00098995
70 | 0.297 | 0.276 | 0.055362 | + B | 0.31 | 0.328 | 0.0031623 | + B | 94.29% | 0.8 | 0.04429 | 0.8 | 0.0025298
60 | 0.301 | 0.281 | 0.049477 | + B | 0.31 | 0.327 | 0.0036056 | + B | 92.71% | 1 | 0.049477 | 1 | 0.0036056
50 | 0.307 | 0.282 | 0.047381 | + B | 0.308 | 0.326 | 0.005831 | + B | 87.69% | 1.8 | 0.085287 | 1.8 | 0.010496
40 | 0.313 | 0.291 | 0.038 | + B | 0.305 | 0.324 | 0.009434 | + B | 75.17% | 2.2 | 0.0836 | 2.2 | 0.020755
30 | 0.334 | 0.313 | 0.026401 | + R | 0.306 | 0.325 | 0.0080623 | + B | 69.46% | 2.6 | 0.068642 | 2.6 | 0.020962
20 | 0.407 | 0.399 | 0.1172 | + G | 0.314 | 0.342 | 0.013038 | + G | 88.88% | 3 | 0.3516 | 3 | 0.039115
Overall
|  | Avg High Pre-distance | 0.064248 |  |  | Avg High Post-distance | 0.0022836 |  | 96.45%
|  | Avg Low Pre-Distance | 0.057246 |  |  | Avg Low Post-Distance | 0.0090914 |  | 84.12%
[10 empty] | 0.311 | 0.32
|  | Avg Pre-Distance | 0.061136 |  |  | Avg Post-Distance | 0.0053093 |  | 91.32%
|  | (Wt.) | 0.090154 |  |  | (Wt.) | 0.011144 |  | 87.64%
M-TLV Calibration Report Template Version 3.0
Modification credit to DavLyn HTC & Doug Weil (Clearly Resolved Image & Sound) & digitalfilmforum.com
| Red (SMPTE C) | 0.63 | 0.34
| Green (SMPTE C) | 0.31 | 0.595
| Blue (SMPTE C) | 0.155 | 0.07
* Close - This circle serves as a simplification of the grayscale process. Changes between points within the circle are harder to decern by the human eye versus points outside the circle. Human eye can see changes better with lower IRE levels than with higher IRE levels.

## BW 5000k
ISF / M-TLV Calibration Report Template
Customer: | [5 empty] | Display:
| 0.358 | 0.346 |  |  | 0.358 | 0.346
IRE | Pre - X | Pre - Y | Distance to D5000 | Bias-Tint | Post - X | Post - Y | Distance to D5000 | Bias-Tint | % Closer to D5000K
100 | 0.282 | 0.257 | 0.11703 | + B | 0.312 | 0.329 | 0.049041 | + B | 58.1%
90 | 0.286 | 0.261 | 0.1114 | + B | 0.312 | 0.331 | 0.048384 | + G | 56.57%
80 | 0.291 | 0.268 | 0.10283 | + B | 0.312 | 0.33 | 0.048703 | + G | 52.63%
70 | 0.297 | 0.276 | 0.092849 | + B | 0.31 | 0.328 | 0.051264 | + B | 44.79%
60 | 0.301 | 0.281 | 0.086452 | + B | 0.31 | 0.327 | 0.051624 | + B | 40.29%
50 | 0.307 | 0.282 | 0.081835 | + B | 0.308 | 0.326 | 0.053852 | + B | 34.2%
40 | 0.313 | 0.291 | 0.071063 | + B | 0.305 | 0.324 | 0.057385 | + B | 19.25%
30 | 0.334 | 0.313 | 0.040804 | + R | 0.306 | 0.325 | 0.05608 | + B | -37.44%
20 | 0.407 | 0.399 | 0.07218 | + G | 0.314 | 0.342 | 0.044181 | + G | 38.79%
Overall
|  | Avg High Pre-distance | 0.10211 |  |  | Avg High Post-distance | 0.049803 |  | 51.23%
|  | Avg Low Pre-Distance | 0.066471 |  |  | Avg Low Post-Distance | 0.052875 |  | 20.45%
|  | Avg Pre-Distance | 0.086271 |  |  | Avg Post-Distance | 0.051168 |  | 40.69%
M-TLV Calibration Report Template
Modification credit to DavLyn HTC & Doug Weil (Clearly Resolved Image & Sound)
| Red (SMPTE C) | 0.63 | 0.34
| Green (SMPTE C) | 0.31 | 0.595
| Blue (SMPTE C) | 0.155 | 0.07